INNOVATIVE LIGHT

LED Flood Light

HL-FL-160W

HeSaLight's LED flood lights are flexible and efficient light sources for both in- and outdoor lighting of buildings, objects and open spaces.

The durable and solid design combined with excellent lighting specifications is the trademark of these unique lamps.

Safe and easy installation

120° adjustable lighting angle

LIGHT SPECIFICATIONS

Colour temperature	Lumen (lm)	CRI (Ra)		Efficiency (lm/W)	Beam angle (°)

6500K		10526		>70		65		10, 25, 40, 60

POWER SPECIFICATIONS

DIMENSIONS

S

s

s

S

GENERAL SPECIFICATIONS

Power (W)		Voltage (V)	Frequency (Hz)	Power factor

162		AC 100-240	50/60		>0.90

LED source	Lifetime (hours)	Warranty (years)   	Colour		Material

132 pcs. Cree/Osram	50,000		2		Metal grey		Cast aluminum

Height (mm)	Width (mm)	Depth (mm)	Weight (kg)

530		572		114.5	  	 16

HeSaLight A/S – Ledreborg Allé 130C – DK-4000 Roskilde – Tel. +45 3537 8888

www.hesalight.com		email: info@hesalight.com