FAQ

Do Structural Insulated Panels insulate better than fibreglass batts?

Yes. When evaluating the insulation performance of a wall system, several factors should be considered. The most common is the “R-value.” R-value is the measurement of the ability of different materials to resist conductive heat transfer (movement of heat through solid material). The higher the R-value of an insulating material, the better it is able to resist heat loss or gain. Over time batts collapse and their R value decreases.

Do SIP homes require special foundations?

No. They can be built on all types of foundations.

How are windows and doors installed in sipsbuild panels?

All window and door openings are pre-cut during the fabrication process. Windows can be retro fitted rather than having windows lying around the site getting damaged or stolen.

How are plumbing and electrical work fixed?

Panels are manufactured with service conduits pre cut so no messy chasing and patching on site saving time and money.

What kind of roofing can I use?

SIP homes and commercial buildings require no special roofing materials. What ever type of roof it would be structurally connected the same as other building methods.

Can I make additions to my home in the future?

Yes our panels can be used for room additions, second story additions, granny flats single and two story homes and many other applications.

Are sipsbuild panel homes cheaper?

sipsbuild panels are more affordable and perform better than double brick walls. They cost less and are quicker and cleaner to build with.

Will a sipsbuild panel home hold its value?

Yes very much so, as energy cost increase so the importance and value of a well insulated home will have a higher value. In NSW each additional star rating is valued at between $10,000-15,000 on the home resale value.

Are sips build panels fire and termite resistant?

Yes, fire rating is the same as standard fibre cement sheeting and the polystyrene has a flame retardant built in and will not support combustion on its own, it has to be supported by the continuous presence of flame. Panels are also fitted with secondary protection Termite bates and Termites don’t eat fiber cement board.

Not answered your questions go to enquiry