Michonne

Solar power charging station

Model: GC-01-M

Product placement: Festival, outside events, public parks, recreational spaces, government grounds, university campuses, camping grounds

Dimensions: 2800 x 1030 x 103mm

Weight: 270Kg

Operating usage Temp: 0-50 Celsius

Cell type: Monocrystalline/Li-NMC

Pack Capacity: 12V36AH

Fuses: 15A

Rated power: 110W

Open circuit voltage: 20-22V

Usage: Apple, Android and Type C

Brand name: Generation Charge

Material:

Color: Black/customized

Type: Electric

Cables: 6X charging cables

Power cord: EU/US/UK/optional

Input: AC Adaptor - 100 ~ 240V 50/60MHz

Output: 6 Charging Ports – 6 x 5V/1.5A

Certificate: CE/RoHS/CE/FCC/UL7MFI

Delivery time: 1-3 weeks

Warranty: 12 Months