Cover page/ page 1

. Title (same as the 50 Hz catalog cover but with the following change to the title)

Change the 50 Hz to 60 Hz

Page no: 2

Same as the 50 Hz catalog

Page no: 3

Same as the 50 Hz catalog

Page no: 4

Same as the 50 Hz catalog

Page No: 5

Please change the following from the 50 Hz catalog (the change highlighted in red colour for your easy reference)

Specifications:

. Delivery up to 26 m3/h

. Head up to 416 m

. Rated motor power output up to 7.5 kW / 10 HP

. Maximum overall pump diameter of 97.5 mm

. DS 1 – DS 2 – DS 3 – DS 4 versions: delivery port of 1.25”

DS 5 version : delivery port of either 1.25” or 1.5”

DS 6 – DS 8 – DS 12 – DS 16 versions: delivery port of 2”

. Maximum sand content of 150 g/m3

Identification Code:

Same as the 50 Hz catalog

Page: 6

Same as the 50 Hz catalog

Page: 7

Same as the 50 Hz catalog

Page: 8

Same as the 50 Hz catalog

Page: 9

Same as the 50 Hz catalog

Page: 10,11,12,13,14,15,16,17,18

For each page, Please change the curves from the attached file marked as “60 Hz curves” Please change all the coloured lines to black colour.

For each page, Please change the tables from the attached file marked as “DS catalog - 60 Hz revised performance tables”

Page: 10

4” DS 1 | 4” Submersible Pumps | 60 Hz | 3450 rpm

Please change the curve from ST 05

Please change the table from DS 1

Page: 11

4” DS 2 | 4” Submersible Pumps | 60 Hz | 3450 rpm

Please change the curve from ST 10

Please change the table from DS 2

Page: 12

4” DS 3 | 4” Submersible Pumps | 60 Hz  | 3450 rpm

Please change the curve from ST 13

Please change the table from DS 3

Page: 13

4” DS 4 | 4” Submersible Pumps | 60 Hz | 3450 rpm

Please change the curve from ST 18

Please change the table from DS 4

Page: 14

4” DS 5 | 4” Submersible Pumps | 60 Hz | 3450 rpm

Please change the curve from ST 25

Please change the table from DS 5

Page: 15

4” DS 6 | 4” Submersible Pumps | 60 Hz | 3450 rpm

Please change the curve from ST 35

Please change the table from DS 6

Page: 16

4” DS 8 | 4” Submersible Pumps | 60 Hz | 3450 rpm

Please change the curve from ST 40

Please change the table from DS 8

Page: 17

4” DS 12 | 4” Submersible Pumps | 60 Hz | 3450 rpm

Please change the curve from ST 60

Please change the table from DS 12

Page: 18

4” DS 16 | 4” Submersible Pumps | 60 Hz | 3450 rpm

Please change the curve from ST 80

Please change the table from DS 16

Page: 19

Same as the 50 Hz catalog

Page: 20 (Back Cover)

Same as the 50 Hz catalog